CHAPTER 7 – PUBLIC UTILITIES

ARTICLE 1 – UTILITIES GENERALLY

  - BILLING; DELINQUENCY; DISCONNECTION

  - DISCONTINUANCE OF SERVICE; NOTICE; PROCEDURE

  - DIVERSION OF SERVICES; PENALTY

  - LIEN

  - DENIAL OF UTILITY SERVICE; WHEN PROHIBITED

ARTICLE 2 – WATER DEPARTMENT

  - OPERATION AND FUNDING

  - DEFINITIONS

  - MANDATORY HOOKUP

  - CONSUMER’S APPLICATION

  - SERVICE TO NONRESIDENTS

  - WATER CONTRACT; NOT TRANSFERABLE

  - INSTALLATION PROCEDURE

  - FEES AND COLLECTIONS

  - ADDITIONAL FEES

  - SERVICE DEPOSIT; CHARGE FOR READING METER

  - RATES

  - MINIMUM RATES; CONSUMER LIABLE

  - SINGLE PREMISES

  - REPAIRS AND MAINTENANCE

  - DIVERSION OF SERVICES; METER TAMPERING; UNAUTHORIZED RECONNECTION, PROHIBITED; EVIDENCE

  - RESTRICTED USE

  - FIRE HYDRANTS

  - POLLUTION

  - INSPECTION

  - POLICE REPORTS

  - DESTRUCTION OF PROPERTY

  - PROHIBITION OF LEAD PIPES, SOLDER AND FLUX

  - LICENSED PLUMBER

  - DRILLING AND OPERATION OF WELLS AND OTHER UNDERGROUND FACILITIES OR CONTAMINATING FACILITIES WITHOUT PERMIT; UNLAWFUL

  - PROCEDURE TO OBTAIN PERMIT

  - DRILLING OR INSTALLATION OF OTHER FACILITIES WITHIN DESIGNATED DISTANCE FROM CITY WATER SOURCES; PROHIBITED

  - PENALTIES AND ABATEMENT PROCEDURE

  - BACKFLOW PROTECTION; DEFINITIONS

  - BACKFLOW PROTECTION; CONTACT WITH WATER OPERATOR

  - BACKFLOW PROTECTION; POLICY AND PURPOSE

  - BACKFLOW PROTECTION; SURVEYS AND INVESTIGATIONS

  - BACKFLOW PROTECTION; WHERE PROTECTION IS REQUIRED

  - BACKFLOW PROTECTION; TYPE REQUIRED

  - BACKFLOW PROTECTION; DEVICES

  - BACKFLOW PROTECTION; BOOSTER PUMPS

  - BACKFLOW PROTECTION; HYDRANTS

  - BACKFLOW PROTECTION; FIRE SUPPRESSION SYSTEM

  - BACKFLOW PROTECTION; APPROVAL STANDARDS

  - BACKFLOW PROTECTION; LIABILITY CLAIMS

  - BACKFLOW PROTECTION; STATE REGULATIONS ADOPTED BY REFERENCE

  - BACKFLOW PROTECTION; VIOLATIONS

ARTICLE 3 – SEWER DEPARTMENT

  - OPERATION AND FUNDING

  - DEFINITIONS

  - CITY POWERS

  - APPLICATION; DEPOSIT

  - SEWER CONTRACT; NOT TRANSFERABLE

  - RATE SETTING

  - USER CHARGE REVIEW

  - USER NOTIFICATION

  - SEWER MAINTENANCE FUND

  - CLASSIFICATION OF CONSUMERS

  - COLLECTION OF SEWER USE FEES

  - PUBLIC SEWERS REQUIRED; UNLAWFUL DEPOSIT OF WASTES

  - PUBLIC SEWERS REQUIRED; UNLAWFUL DISCHARGE OF UNTREATED SEWAGE

  - PUBLIC SEWERS REQUIRED; CESSPOOLS, PRIVIES AND SEPTIC TANKS PROHIBITED

  - PUBLIC SEWERS REQUIRED; MANDATORY HOOKUP

  - SEWER INSTALLATION; PERMIT REQUIRED

  - BUILDING SEWER INSTALLATION; PERMIT; CLASSES; APPLICATION

  - OWNER’S EXPENSE

  - TAP FEE; PLUMBER MAY BE REQUIRED

  - INSTALLATION PROCEDURE

  - INSTALLATION EXPENSE; FEES

  - REPAIRS AND REPLACEMENT

  - SINGLE PREMISES

  - USE OF EXISTING SEWERS

  - CONSTRUCTION CODES

  - PLUMBING REGULATIONS

  - PLUMBER’S LIABILITY

  - UNLAWFUL CONNECTION

  - INSPECTIONS

  - EXCAVATIONS

  - INDUSTRIAL USERS; SEWER SERVICE CHARGE

  - INDUSTRIAL USERS; SEWER CHARGES; DETERMINATION

  - MANHOLES

  - PRIVATE SEWAGE DISPOSAL; WHEN APPLICABLE

  - PRIVATE SEWAGE DISPOSAL SYSTEM; PERMIT REQUIRED; FEE

  - PRIVATE SEWAGE DISPOSAL SYSTEM; PERMIT; WHEN EFFECTIVE; INSPECTIONS

  - PRIVATE SEWAGE DISPOSAL SYSTEM; SPECIFICATIONS

  - PRIVATE SEWAGE DISPOSAL SYSTEM; MAINTENANCE

  - PROHIBITED DISCHARGES; STORMWATER, SURFACE WATER, GROUNDWATER, COOLING WATER AND PROCESS WATER

  - HAZARDOUS AND PROHIBITED DISCHARGES; FLAMMABLE TOXIC, CORROSIVE AND OBSTRUCTIVE SUBSTANCES

  - HAZARDOUS  AND PROHIBITED DISCHARGES; SPECIFIC PROHIBITIONS AS DETERMINED BY SUPERINTENDENT

  - DISCHARGE OF HAZARDOUS AND PROHIBITED SUBSTANCES; REJECTION, PRETREATMENT; CONTROL OF DISCHARGE RATE OR USE FEE SURCHARGE

  - GREASE, OIL AND SAND INTERCEPTORS; WHEN REQUIRED

  - PRELIMINARY TREATMENT OR FLOW-EQUALIZING FACILITIES; MAINTENANCE BY OWNER

  - CONTROL MANHOLES/SAMPLING STATIONS; WHEN REQUIRED; INSTALLATION AND MAINTENANCE

  - CONTROL MANHOLES/SAMPLING STATIONS; METHOD

  - SANITARY SUPPLY SYSTEM; DESTRUCTION OF PROPERTY

  - HAZARDOUS AND PROHIBITED SUBSTANCES; SPECIAL EXCEPTIONS PERMITTED; USE FEE SURCHARGE

  - COMPLIANCE WITH ARTICLE; INSPECTIONS GENERALLY

  - COMPLIANCE WITH ARTICLE; INSPECTIONS; INJURY LIABILITY

  - COMPLIANCE WITH ARTICLE; INSPECTIONS; EASEMENTS

  - VIOLATION; NOTICE AND LIABILITY

  - SEVERABILITY CLAUSE

  - PENAL PROVISION; VIOLATION

ARTICLE 4 – SOLID WASTE

  - DEFINITIONS

  - RESIDENTIAL CUSTOMERS

  - BUSINESSES, CHURCHES AND COMMERCIAL CUSTOMERS

  - COMMERCIAL HAULERS/COLLECTORS

  - COMPACTOR; LITTER PREVENTION

ARTICLE 5 – CITY COMPACTOR/DUMPING GROUNDS

  - OPERATION AND FUNDING

  - STATE REGULATIONS

ARTICLE 6 – PENAL PROVISION

  - VIOLATION; PENALTY

CHAPTER 7  PUBLIC UTILITIES

Article 1  Utilities Generally

SECTION 7-101:  BILLING; DELINQUENCY; DISCONNECTION

- Utility bills shall be a joint bill for all utilities and will be sent out on the 20th day of the month. Bills are due and payable at the office of the city clerk on the 1st of the month and become delinquent on the 10th. A delinquent service fee will be charged on each account not paid before the 10th day of the month in which it is due. The service fee is hereby set at $4.50. A delinquent service fee will be collected for each time a reminder is sent on an account.

- If a bill remains delinquent at the time of the next billing cycle and no arrangements for payment have been made, a disconnect notice will be sent by U.S. Postal Service. Once a meter has been disconnected for non-payment, service will not be restored until the current billing has been paid, plus a reconnect fee. If it is a rental property, a copy of the disconnect notice will be sent to the owner. Any past due amounts charged to a rental property will be billed to the property owner and recovered by civil action or certified to the tax assessor and assessed against the premises served and collected in the same manner as other municipal taxes.

C. All non-delinquent accounts that request a disconnect or reconnect will be charged a service fee of $10.00 if the reconnect or disconnect is done during regular city hours or $25.00 if it is done outside of regular city hours.

D. A service deposit of $150.00 will be collected on the accounts of citizens that rent their residences. A service deposit of $100.00 will be collected on accounts of citizens that own their residences. Any home under a rent-to-own arrangement will be handled as a rental. The meter will be billed to the property owner until a service deposit is collected, which will be refunded after the last bill is paid in full. If a meter is disconnected for non-payment and no service deposit is held on said account, the appropriate service deposit will be collected on the account at that time.

(Ref. Tekamah Municipal Code Chapter 3, Article 6 and Neb. Rev. Stat. §17-540 and 18-503) (Am. by Ord. No. 1257, 11/20/14)

SECTION 7-102:  DISCONTINUANCE OF SERVICE; NOTICE; PROCEDURE

- The City shall have the right to discontinue utility services and remove its properties if the charges for such services are not paid within seven days after the date that the charges become delinquent. Before any termination, the City shall first give notice by first-class mail or in person to any domestic subscriber whose service is proposed to be terminated. If notice is given by first-class mail, such mail shall be conspicuously marked as to its importance. Service shall not be discontinued for at least days, weekends and holidays excluded, after notice is sent or given. As to any subscriber who has previously been identified as a welfare recipient to the City by the Department of Health and Human Services, such notice shall be by certified mail and notice of such proposed termination shall be given to HHS.

- The notice shall contain the following information:

- The reason for the proposed disconnection;

- A statement of the intention to disconnect unless the domestic subscriber either pays the bill or reaches an agreement with the City regarding payment of the bill;

- The date upon which service will be disconnected if the domestic subscriber does not take appropriate action;

- The name, address, and phone number of the employee or department to whom the domestic subscriber may address an inquiry or complaint;

- The domestic subscriber's right, prior to the disconnection date, to request a conference regarding any dispute over such proposed disconnection.

- A statement that the City may not disconnect service pending the conclusion of the conference;

- A statement to the effect that disconnection may be postponed or prevented upon presentation of a duly licensed physician's certificate which shall certify that the domestic subscriber or a resident within such subscriber's household has an existing illness or handicap which would cause such subscriber or resident to suffer an immediate and serious health hazard by the disconnection of the City's service to that household. Such certificate shall be filed with the City within five days of receiving notice under this section and will prevent the disconnection of service for a period of 30 days from such filing. Only one postponement of disconnection shall be allowed under this subsection for each incidence of nonpayment of any past-due account;

- The cost that will be borne by the domestic subscriber;

- A statement that the domestic subscriber may arrange with the City for an installment payment plan;

- A statement to the effect that those domestic subscribers who are welfare recipients may qualify for assistance in payment of their utility bill and that they should contact their caseworker in that regard; and

- Any additional information not inconsistent with the section which has received prior approval from the City Council.

- A domestic subscriber may dispute the proposed discontinuance of service by notifying the City with a written statement that sets forth the reasons of the dispute and the relief requested. If a statement has been made by the subscriber, a conference shall be held before the City may discontinue services.

- The procedures adopted by the City Council for resolving utility bills, three copies of which are on file in the office of the city clerk, are hereby incorporated by reference in addition to any amendments thereto and are made a part of this section as though set out in full.

- This section shall not apply to any disconnection or interruption of services made necessary by the City for reasons of repair or maintenance or that protect the health and safety of the domestic subscriber or of the general public.

(Neb. Rev. Stat. §70-1602 et seq.)  (Ord. No. 1045, 8/12/97)

SECTION 7-103:  DIVERSION OF SERVICES; PENALTY

- The City may bring a civil action for damages against any person who commits, authorizes, solicits, aids, abets, or attempts bypassing, tampering, or unauthorized metering, when such act results in damages to a city utility.

- The City may bring a civil action for damages pursuant to this section against any person receiving the benefit of utility service through means of bypassing, tampering or unauthorized metering. In any civil action brought pursuant to this section, the City shall be entitled, upon proof of willful or intentional bypassing, tampering, or unauthorized metering to recover as damages:

- The amount of actual damage or loss if the amount of the damage or loss is susceptible of reasonable calculation; or

- Liquidated damages of $750.00 if the amount of actual damage or loss is not susceptible of reasonable calculation.

- In addition to damage or loss under subsection (A) or (B) of this section, the City may recover all reasonable expenses and costs incurred on account of the bypassing, tampering, or unauthorized metering including, but not limited to, disconnection, reconnection, service calls, equipment, costs of the suit, and reasonable attorneys' fees in cases within the scope of Neb. Rev. Stat. §25-1801.

- There shall be a rebuttal presumption that a tenant or occupant at any premises where bypassing, tampering or unauthorized metering is proven to exist caused or had knowledge of such bypassing, tampering, or unauthorized metering if the tenant or occupant:

  - Had access to the part of the utility supply system on the premises where the bypassing, tampering, or unauthorized metering is proven to exist and

  - Was responsible or partially responsible for payment, either directly or indirectly, to the utility or to any other person for utility services to the premises.

- There shall be a rebuttal presumption that a customer at any premises where bypassing, tampering, or unauthorized metering is proven to exist caused or had knowledge of such bypassing, tampering, or unauthorized metering if the customer controlled access to the part of the utility supply system on the premises where the bypassing, tampering, or unauthorized metering was proven to exist.

- The remedies provided by this section shall be deemed to be supplemental and additional to powers conferred by existing laws and the remedies provided in this section are in addition to and not in limitation of any other civil or criminal statutory or common law remedies.

(Neb. Rev. Stat. §86-331.01 thru 86-331.04)

SECTION 7-104:  LIEN

In addition to all other remedies, if a customer shall for any reason remain indebted to the City for utilities service furnished, such amount due, together with any rents and charges in arrears shall be considered a delinquent utility rent which is hereby declared to be a lien upon the real estate for which the same was furnished. The city clerk shall notify in writing or cause to be notified in writing, all owners of premises or their agents whenever their tenants or lessees are 60 days or more delinquent in the payment of the utilities rent. It shall be the duty of the utilities superintendent on the first day of June of each year to report to the City Council a list of all unpaid accounts due for utilities service, together with a description of the premises served. The report shall be examined, and if approved by the Council, shall be certified by the city clerk to the county clerk to be collected as a special tax in the manner provided by law.  (Neb. Rev. Stat. §17-538, 17-925.01, 18-503)

SECTION 7-105:  DENIAL OF UTILITY SERVICE; WHEN PROHIBITED

No applicant for the services of a public or private utility company furnishing water, natural gas, or electricity at retail in this City shall be denied service because of unpaid bills for similar service which are not collectible at law because of statutes of limitations or discharge in bankruptcy proceedings.  (Neb. Rev. Stat. §70-1601)  (Ord. No. 1114, 4/27/99)

Article 2  Water Department

SECTION 7-201:  OPERATION AND FUNDING

The City owns and operates the Water Department through the utilities superintendent. The City Council, for the purpose of defraying the cost of the care, management, and maintenance of the Water Department may each year levy a tax not exceeding the maximum limit prescribed by state law on the actual valuation of all real estate and personal property within the corporate limits that is subject to taxation. The revenue from the said tax shall be known as the Water Fund and shall remain in the custody of the city treasurer. The utilities superintendent shall have the direct management and control of the Water Department and shall faithfully carry out the duties of his office. The utilities superintendent shall have the authority to adopt rules and regulations for the sanitary and efficient management of the Water Department subject to the supervision and review of the City Council. The City Council shall set the rates to be charged for services rendered by ordinance and shall file a copy of the rates in the office of the city clerk for public inspection at any reasonable time.  (Neb. Rev. Stat. §17-531, 17-534, 19-1305)

SECTION 7-202:  DEFINITIONS

The following definitions shall be applied throughout this article. Where no definition is specified, the normal dictionary usage of the word shall apply.

"Main" is hereby defined to be any pipe other than a supply or service pipe that is used for the purpose of carrying water to, and dispersing the same in the City.

"Separate premises" is hereby defined to be more than one consumer procuring water from the same service or supply pipe. The second premises may be a separate dwelling, apartment, building, or structure used for a separate business.

"Service pipe" is hereby defined to be any pipe extending from the shut-off, stop box, or curb cock at or near the lot line to and beyond the property line of the consumer to the location on the premises where the water is to be dispersed.

"Supply pipe" is hereby defined to be any pipe tapped into a main and extending from there to a point at or near the lot line of the consumer's premises where the shut-off, stop box, or curb cock is located.

SECTION 7-203:  MANDATORY HOOKUP

All persons within 300 feet of a water main shall be required, upon notice by the City Council, to hook up with the water system.  (Neb. Rev. Stat. §17-539)

SECTION 7-204:  CONSUMER'S APPLICATION

Every person or persons desiring a supply of water must make application therefor to the utilities superintendent, who may require any applicant to make a service deposit in such amount as has been set by the City Council and placed on file at the office of the city clerk. Water may not be supplied to any house or private service pipe except upon the order of the superintendent.  (Neb. Rev. Stat. §17-537)

SECTION 7-205:  SERVICE TO NONRESIDENTS

The Department shall not supply water service to any person outside the corporate limits without special permission from the City Council; provided, the entire cost of laying mains, service pipe, and supply pipe shall be paid by the consumer. Nothing herein shall be construed to obligate the City to provide water service to nonresidents.  (Neb. Rev. Stat. §19-2701)

SECTION 7-206:  WATER CONTRACT; NOT TRANSFERABLE

- The City through its Water Department, shall furnish water to persons within its corporate limits whose premises abut a street or alley in which a commercial main now is or may hereafter be laid. The City may furnish water to persons within its corporate limits whose premises do not abut a street or alley in which a city commercial main is now or may hereafter be laid and may also furnish water to persons whose premises are situated outside the corporate limits of the City, as and when, according to law, the City Council may see fit to do so. The rules, regulations, and water rates hereinafter named in this article, shall be considered a part of every application hereafter made for water service and shall be considered a part of the contract between every consumer now or hereafter served. Without further formality, the making of application on the part of any applicant or the use or consumption of water service by present consumers thereof and the furnishing of water service to said consumer shall constitute a contract between the consumer and the City, to which said contract both parties are bound. If the consumer shall violate any of the provisions of said contract or any reasonable rules and regulations that the City Council may hereafter adopt, the utilities superintendent or agent may cut off or disconnect the water service from the building or premises or place of such violation. No further connection for water service to said building, premises or place shall again be made save or except by order of said superintendent or agent.

- Contracts for water service are not transferable. Any person wishing to change from one location to another shall make a new application and sign a new contract. If any consumer shall move from the premises where service is furnished, or if the said premises are destroyed by fire or other casualty, he/she shall at once inform the utilities superintendent, who shall cause the water service to be shut off at the said premises. If the consumer should fail to give such notice, he/she shall be charged for all water used on the said premises until the utilities superintendent is otherwise advised of such circumstances.  (Neb. Rev. Stat. §17-537)

SECTION 7-207:  INSTALLATION PROCEDURE

- In making excavations in streets, alleys, or sidewalks for the purpose of installing pipe, or making repairs, the paving, stones, and earth must be removed and deposited in a manner that will occasion the least inconvenience to the public and provide for adequate drainage. No person shall leave an excavation made in the street, alley, or sidewalk open at any time without a barricade, and during the night, warning lights.

- After service pipes are laid, the streets, alleys, and sidewalks shall be restored to good condition. If the excavation in any street, alley, or sidewalk is left open or unfinished for a period of 24 hours or more, the utilities superintendent shall have the duty to finish or correct the work, and all expenses so incurred shall be charged to the consumer. All installations or repairs of pipes require two inspections by the utilities superintendent. The first inspection shall be made when connections or repairs are completed and before the pipes are covered. The second inspection shall be made after the dirt work is completed and the service is restored. It is the customer's responsibility to notify the superintendent at the time the work is ready for each inspection. All installation shall be done under the supervision and strictly in accordance with the rules, regulations, and specifications prescribed for such installation by the utilities superintendent; provided, the said rules, regulations, and specifications have been reviewed and approved by the City Council.

(Neb. Rev. Stat. §17-537)

SECTION 7-208:  FEES AND COLLECTIONS

- The City Council has the power and authority to fix the rates to be paid by the water consumers for the use of water from the Water Department. All such fees shall be on file for public inspection at the office of the city clerk, who shall bill the consumers and collect all money received by the City on the account of the Water Department. The clerk shall faithfully account for and pay to the city treasurer all revenue collected, making a receipt therefor in duplicate, filing one with the city clerk and keeping the other on file in the official records of the Water Department.

- No water service shall be furnished to any customer at a rate that is different from other customers of the same class or type. Persons, firms, or corporations desiring to use water temporarily shall pay such rates as the utilities superintendent, with the approval of the City Council, shall set. Without respect to schedule of rates for other customers, the Council may enter into special contracts with large consumers of water, but never at a rate less than the cost of production; provided, the contract shall always provide that the said large consumer shall always pay the minimum rate for other customers and the contract shall be made on the basis of water consumed in excess of said minimum. A meter shall always be attached to the water service of such contract consumer and read monthly as in the case of other classes of water consumers. Water service furnished to the other departments of the City and to other governmental subdivisions of the State shall be measured and billed for at such rates as the City Council shall set from time to time without respect to the schedule of rates on file at the office of the city clerk, but never at rates that do not cover the cost of providing water.

- Whenever water service is supplied to more than one customer through the same supply pipe, each customer shall pay the minimum water service charge each month. In the event that two or more customers are supplied through the same meter, the owner of the premises shall pay for all water consumed thereon plus separate minimums. One bill only shall be computed for each meter.  (Neb. Rev. Stat. §17-540)

SECTION 7-209:  INSTALLATION EXPENSE

- When improvements are made to the water supply system or the wastewater system within the City, such cost associated to the improvement will generally be assessed to those properties gaining benefit from such improvement. When a new or existing water or sewer customer wishes to receive a new connection, the City will pay the cost of tapping the main, installing the meter and providing the fixtures and labor from the main up to the stop box at the lot line of the customer. All cost associated with the new service line will be included in the installation charge. The installation charge will include the cost of all the materials needed for the connection, including the stop box, and the labor. The city shall bill the installation charges along with the tap fees set herein.

- The base tap fees are hereby set in the following amounts:

- The minimum residential water line shall be a one-inch pipe with a minimum tap fee of $175.00.

- The minimum residential sewer line shall be six-inch pipe with a flat fee of $50.00.

- Tap fees for commercial lines shall be set on a case by case basis. The utility superintendent shall require in each case the plumbing plans for the new commercial site and the determination of the size of line required will be based on the site plans and proposed use. The fee will be set in accordance with size and cost.

- Regardless of the type of service, the customer shall at his own expense bring water service from the stop box or sewer service from the closest main and upon his own premises. The customer shall hire a plumber to make the connection to the point of city service and the point of dispersing. All water service will be metered. The city owns, pays for, and maintains one meter for each customer within city limits. Additional meters can be purchased from the City at its cost. Any household or business that utilizes a second water meter is responsible for the purchase, maintenance and repair of the second meter and an MXU device that enables the meter to have radio-read capability. Any household or business that utilizes a second meter for a sprinkler will be charged for usage beginning on April 1 and ending on October 31 each year.

- Any existing property owner within the city's service area that is currently connected to a city service line and any future property owner wishing to connect to a city service shall be subject to the installation and connection fees. The connection fee shall only include the right to connect to the line. The property owner has the option of paying the connection fee up front or as a reoccurring charge on his/her monthly utility statement for up to 60 months interest free. No property shall have the right to be connected to city service without prior city approval.

(Ord. No. 1074, 8/25/98) (Am. by Ord. No. 1257, 11/20/14)

(Continued)

(This page intentionally left blank)

(This space intentionally left blank)

SECTION 7-210:  SERVICE DEPOSIT; CHARGE FOR READING METER

Whenever application is made by any person for a permit to connect with the city water system or whenever any person requests service as a new customer on an existing service connection, then such person will pay to the City a service deposit, in such amount as set by the City Council and on file at the clerk's office, before such permit shall be granted or before water service shall be furnished. The City shall be entitled to retain the service deposit in the Water Fund, and in the event of failure of the consumer to pay any water bill properly assessed against him/her, the City may apply the deposit against such consumer’s current water bill. Additionally, there will be a charge for the initial meter reading and turn-on and a service charge for the final meter reading and disconnect. Said fees will be set by the City Council and will be on file at the clerk's office. Said fees must be paid prior to any work being performed. The deposit may also be applied by the City against any damage or injury caused by the consumer as set forth in Section 7-222 (Destruction of Property) of this code. If the consumer shall pay all water bills when due during the 12 months following commencement of the service, then the Water Department shall either refund the service deposit or may credit the same against the current water bill of the consumer.

SECTION 7-211:  RATES

Rates for water service shall be on file at the office of the city clerk, and shall be due and payable pursuant to Article 1 of this chapter (Utilities Generally).

SECTION 7-212:  MINIMUM RATES; CONSUMER LIABLE

Every water consumer shall be liable for the minimum rate provided by ordinance unless and until he/she shall, by written order, direct the utilities superintendent to shut off the water at the stop box, in which case said consumer shall not be liable thereafter for water rental until the water is turned on again.  (Neb. Rev. Stat. §17-542)

SECTION 7-213:  SINGLE PREMISES

No consumer shall supply water to other families or allow them to take water from his/her premises, nor after water is supplied into a building shall any person make or employ a plumber or other person to make a tap or connection with the pipe upon the premises for alteration, extension, or attachment without the written permission of the utilities superintendent. (Neb. Rev. Stat. §17-537)

SECTION 7-214:  REPAIRS AND MAINTENANCE

- The City shall repair or replace, as the case may be, all supply pipe between the commercial main and the stop box. The customer at his own expense shall replace and keep in repair all service pipe from the stop box to the place of dispersing. When leaks occur in service pipes, the utilities superintendent shall shut off water service until the leak is repaired at the expense of the customer to the satisfaction of the utilities superintendent. All water meters shall be kept in repair by the City at its expense. When meters are worn out, they shall be replaced and reset by the City at its expense; provided, if the customer permits or allows a water meter to be damaged, injured, or destroyed through his/her own recklessness, carelessness, or neglect so that the meter must be repaired or replaced, the utilities superintendent shall bill and collect from the customer the cost of such meter repair or replacement in the same manner as water rent is collected. Permitting a water meter to be damaged or destroyed by freezing shall always be considered negligence on the part of the customer. All meters shall be tested at the customer's request at the expense of the customer any reasonable number of times; provided, if the test shows the water meter to be running 2% or more fast, the expense of such test shall be borne by the City. The City reserves the right to test any water service meter at any time, and if said meter is found to be beyond repair, the City shall always have the right to place a new meter on the customer's water service fixtures at city expense.

- Should a consumer's meter fail to register properly, the customer shall be charged for water during the time the meter is out of repair on the basis of the quarterly consumption during the same quarter of the preceding year; provided, if no such basis for comparison exists, the customer shall be charged such amount as may be reasonably fixed by the utilities superintendent.

(Neb. Rev. Stat. §17-537)

SECTION 7-215:   DIVERSION OF SERVICES; METER TAMPERING;

UNAUTHORIZED RECONNECTION, PROHIBITED;

EVIDENCE

- Any person who connects any pipe or conduit supplying water without the knowledge and consent of the City in such a manner that any portion thereof may be supplied to any instrument by or at which water may be consumed without passing through the meter provided for measuring or registering the amount or quantity passing through it, and any person knowingly uses or knowingly permits the use of water obtained in the above mentioned unauthorized ways, shall be deemed guilty of an offense.

- Any person who willfully injures, alter, or by any instrument, device, or contrivance in any manner interferes with or obstructs the action or operation of any meter made or provided for measuring or registering the amount or quantity of water passing through it, without the knowledge and consent of the City shall be deemed guilty of an offense.

- When water service has been disconnected pursuant to Neb. Rev. Stat. §70-1601 to 70-1615 or Section 7-102 of this code, any person who reconnects such service without the knowledge and consent of the City shall be deemed guilty of an offense.

- Proof of the existence of any pipe or conduit connection or reconnection or of any injury, alteration, or obstruction of a meter shall be taken as prima facie evidence of the guilt of the person in possession of the premises where such connection, reconnection, injury, alteration, or obstruction is proved to exist.

(Neb. Rev. Stat. §86-329 through 86-331)  (Ord. No. 995, 2/27/96)

SECTION 7-216:  RESTRICTED USE

The City Council or the utilities superintendent may order a reduction in the use of water or shut off the water on any premises in the event of a water shortage due to fire or other good and sufficient cause. The City shall not be liable for any damages caused by shutting off the supply of water of any consumer while the system or any part thereof is undergoing repairs or when there is a shortage of water due to circumstances over which the City has no control.  (Neb. Rev. Stat. §17-537)

SECTION 7-217:  FIRE HYDRANTS

All hydrants for the purpose of extinguishing fires are hereby declared to be public hydrants, and it shall be unlawful for any person other than members of the Fire Department under the orders of the fire chief or the assistant chief or employees of the Water Department to open or attempt to open any of the hydrants and draw water from the same, or in any manner to interfere with the hydrants. (Neb. Rev. Stat. §17-537)

SECTION 7-218:  POLLUTION

It shall be unlawful for any person to pollute or attempt to pollute any stream or source of water for the supply of the Water Department.  (Neb. Rev. Stat. §17-536)

SECTION 7-219:  INSPECTION

The utilities superintendent or his duly authorized agent shall have free access at any reasonable time to all parts of each premises and building to or in which water is delivered for the purpose of examining the pipes, fixtures, and other portions of the system to ascertain whether there is any disrepair or unnecessary waste of water. (Neb. Rev. Stat. §17-537)

SECTION 7-220:  POLICE REPORTS

It shall be the duty of the city police to report to the utilities superintendent all cases of leakage and waste in the use of water and all violations of the municipal code relating to the Water Department. They shall have the additional duty of enforcing the observance of all such regulations.

SECTION 7-221:  DESTRUCTION OF PROPERTY

It shall be unlawful for any person to willfully or carelessly break, injure, or deface any building, machinery, apparatus, fixture, attachment, or appurtenance of the Water Department. No person may deposit anything in a stop box or commit any act tending to obstruct or impair the intended use of any of the above-mentioned property without the written permission of the utilities superintendent. (Neb. Rev. Stat. §17-537)

SECTION 7-222:  PROHIBITION OF LEAD PIPES, SOLDER AND FLUX

Any pipe, solders or flux used in the installation or repair of any residential or nonresidential facility which is connected to the public water supply system shall be lead-free.  For purposes of this section, “lead-free” shall mean:

- Solders and flux - not more than .2% lead, and

- Pipe and pipe fittings - not more than 8% lead.

(Neb. Rev. Stat. §17-537)

SECTION 7-223:  LICENSED PLUMBER

It shall be unlawful for any plumber or pipefitter to do any work upon any of the pipes or appurtenances of the system of waterworks or to make any connection with or extension of the supply pipes of any consumer taking water from the said system until such plumber or pipefitter shall have first procured a license from the State of Nebraska. All plumbing shall be done in the manner required by the utilities superintendent. The said licensed plumber shall be at all times subject to the inspection and approval of the utilities superintendent and it shall be further unlawful to cover or conceal willfully any defective or unsatisfactory plumbing work.  (Neb. Rev. Stat. §17-537)

SECTION 7-224:   DRILLING AND OPERATION OF WELLS AND OTHER

UNDERGROUND FACILITIES OR CONTAMINATING

FACILITIES WITHOUT PERMIT; UNLAWFUL

From and after the effective date of this ordinance, it shall be unlawful for person, corporation or other legal entity to drill and/or operate any of the following facilities within the corporate limits of the City without first having obtained the proper permit from the City Council:

- Potable water well;

- Any other well;

- Sewage lagoon;

- Absorption or disposal field for water;

- Cesspool;

- Dumping grounds;

- Feedlot;

- Livestock corral;

- Chemical product storage facility;

- Petroleum product storage facility;

- Pit toilet;

- Sanitary landfill;

- Septic tank;

- Sewage treatment plant;

- Sewage wet well.

(Neb. Rev. Stat. §46-1504)  (Ord. No. 984, 10/24/95)

SECTION 7-225:  PROCEDURE TO OBTAIN PERMIT

In order to obtain a permit to drill and/or operate any of the facilities listed in Section 7-224, the owner of property on which the proposed facility is to be located must make application on the proper form provided by the City Council. Such application must be presented to the Council at any regular meeting or special meeting. After reviewing the application of any person desiring to drill or operate any of the above-described facilities, then the Council must approve or deny said permit.  (Ord. No. 984, 10/24/95)

SECTION 7-226:   DRILLING OR INSTALLATION OF OTHER FACILITIES WITHIN

DESIGNATED DISTANCE FROM CITY WATER SOURCES;

PROHIBITED

Under no circumstances shall the City Council approve any permit to drill or operate any of the below-described facilities within the indicated number of feet from the City of Tekamah water wells:

| Non-potable water well | 1,000 feet |
| --- | --- |
| Any other well | 1,000 feet |
| Sewage lagoon | 1,000 feet |
| Absorption or disposal field for water | 500 feet |
| Cesspool | 500 feet |
| Dumping grounds | 500 feet |
| Feedlot or feedlot runoff | 500 feet |
| Livestock corral | 500 feet |
| Chemical product storage facility | 500 feet |
| Petroleum product storage facility | 500 feet |
| Pit toilet | 500 feet |
| Sanitary landfill | 500 feet |
| Septic tank | 500 feet |
| Sewage treatment plant | 500 feet |
| Sewage wet well | 500 feet |

(Neb. Rev. Stat. §46-1506)  (Ord. No. 984, 10/24/95)

SECTION 7-227:  PENALTIES AND ABATEMENT PROCEDURE

In the event of any of the above-described facilities are installed or operated (A) without first having obtained a permit from the City and/or (B) within a designated number of feet from the city water supply, then such facilities shall be deemed a nuisance and the City Council shall abated such facility as a public nuisance. (Neb. Rev. Stat. §46-1506)  (Ord. No. 984, 10/24/95)

SECTION 7-228:  BACKFLOW PROTECTION; DEFINITIONS

The following definitions shall apply in the interpretation and enforcement of these regulations.

"Air gap separation" shall mean the unobstructed vertical distance through the free atmosphere between the lowest opening of any pipe or faucet supplying water to a tank, plumbing fixture, or other device and the flood level rim of the said receptacle. An approved air gap shall be at least double the diameter of the supply pipe, measured vertically, above the top of the rim of the receptacle and, in no case less than one inch.

"Antisiphon vacuum breaker" is a device which restricts the backflow of water into a potable water system by a simple check valve. The vacuum is broken by allowing air to enter upstream of the check valve.

"Approved" shall mean that a backflow prevention device or method has been accepted by the water operator as being suitable for the intended use.

"Auxiliary water system" shall mean any water supply system available to the premises other than the public water supply system and includes the water supplied by such system. These auxiliary water systems may include water from another owner's public water supply system; polluted or contaminated water, process fluids; used water; or other sources of water which the owner of the public water supply system does not have sanitary control.

"Backflow" or "backsiphonage" shall mean the flow of water or other liquids, mixtures, or substances into the water distribution system from any other source than the intended source of the potable water supply.

"Backflow prevention device", shall mean any device, method or type of construction intended to prevent backflow into a potable water system. Devices such as an "approved air gap," “check valve assembly," "antisiphon vacuum breaker" or a "reduced pressure principle device" can be used which have been approved by the water operator.

"Consumer" shall mean the owner or person in control of any premises supplied by or in any manner connected to a public water supply system.

"Consumer’s water supply system" shall mean any water supply system located on the consumer's premises, supplied by or in any manner connected to a public water supply system. A household plumbing system is considered to be a consumer's water supply system.

"Contamination" shall mean an impairment of the quality of water by sewage, or waste to a degree which could cause an actual hazard to the public health through poisoning or through spread of disease by exposure.

"Cross-connection" shall mean any arrangement whereby contamination due to backflow or backsiphonage can occur.

"Degree of hazard" is a term derived from an evaluation of the potential risk to health and the adverse effects upon the potable water system.

"Double check valve assembly" shall mean an assembly composed of two single, independently acting, check valves including 100% closing shutoff ball valves located at each end of the assembly and suitable connections for testing the water tightness of each check valve.

"Health hazard" shall mean any condition, device, or practice in a water system or its operation that creates a real or potential danger to the health and well-being of the consumer.

"Interchangeable connection" shall mean an arrangement or device that will allow alternate but no simultaneous uses of two sources of water.

"Licensed plumber" shall mean a person who has obtained the appropriate license to perform plumbing related work within the zoning limits of the City.

"Non-potable water" shall mean water not safe for drinking, personal, or culinary use, or which does not meet the requirements of the state Department of Health.

"Owner" shall mean the entity delivering water through a public water supply system. The owner is the City of Tekamah.

"Person" shall mean the state, any political subdivision, public or private corporation, individual, partnership, or other legal entity. When the term “he/she” or “his/her” is used, it shall mean any male or female person.

"Plumbing hazard" shall mean a plumbing-type cross-connection in a consumer's potable water system that has not been properly protected by air gap separation or backflow prevention devices.

"Pollution" shall mean the presence in water of any foreign substances (organic, inorganic, or biological) that degrades the quality of water to a degree which does not necessarily cause an actual hazard to the public health but which does adversely and unreasonably affect such waters for any desired use.

"Pollution hazard" shall mean a condition through which an aesthetically objectionable or degrading material not dangerous to health may enter the public water supply system or the consumer's water supply system.

"Potable water" shall mean water which is satisfactory for drinking, culinary, and cosmetic purposes and meets the requirements of the state Department of Health.

"Public water supply system" shall mean a water supply system designed and intended to provide potable water to a designated consumer. The water supply shall include the water supply source and distribution piping network. “The water supply source” is defined as any artificial or natural accumulation of water used to supply the potable water system. The distribution piping network includes all piping, pumping and treatment devices used to convey an adequate quality and quantity of potable water to the consumer.

"Reduced pressure zone backflow prevention device" shall mean a device containing a minimum of two independently acting check valves, together with an automatically operated pressure differential relief valve located between two check valves. During normal flow and at the cessation of normal flow, the pressure between these two checks shall be less that the supply pressure. In case of leakage of either check valve, the differential relief valve, by discharging to the atmosphere, shall operate to maintain the pressure between the check valves at less than the supply pressure. The unit must include a 100% closing shutoff ball valve located at each end of the device, and each device shall be fitted with properly located test cocks.

"Service connection" shall mean the terminal end of a service line from the public water system. If a meter is installed at the end of the service, then the service connection means the downstream end of the meter.

“System hazard" shall mean a condition posing an actual or potential threat of damage to the physical properties of the public's or the consumer's water supply system.

"Used water" shall mean any water supplied by the public water supply system to a consumer's water supply system after it has passed through the service connection and is no longer under the sanitary control of the water supplier.

"Water operator" for the purposes of this article shall mean a duly trained and certified individual with at least a Grade VI water operator certificate and successful completion of a backflow prevention and cross-connection control training course approved by the State. The water operator is an authorized representative of the public works director.

(Neb. Rev. Stat. §17-537)

SECTION 7-229:  BACKFLOW PROTECTION; CONTACT WITH WATER

OPERATOR

The consumer, if requested by the water operator, shall designate an individual who shall be responsible for contact and communications with the water operator in matters relating to system alteration and construction, monitoring and sampling, maintenance, operation, record keeping, and reporting, as required by law and these regulations. Any change in assigned responsibilities or designated individual shall be promptly reported to the water operator.  (Neb. Rev. Stat. §17-537)

SECTION 7-230:  BACKFLOW PROTECTION; POLICY AND PURPOSE

- The purpose of this ordinance is to protect the public water supply system of the City from the possibility of contamination by isolation real or potential sources of contamination or pollution which may backflow into the public water supply system. These regulations provide for the maintenance of the continuing program of cross-connection controls which will systematically and effectively prevent the contamination or pollution of the potable water supply systems.

- The water operator shall be responsible for implementation of the backflow prevention program as outlined within this article. If in the judgment of the water operator, an approved backflow prevention device is required for the safety of the public water supply system, then the water operator shall give notice in writing to the consumer to install said device at each recommended location. The installation of backflow prevention devices, except for outlet fixture vacuum breakers (i.e. hose bibbs, outdoor hydrants), shall be by a licensed plumber that is a certified backflow technician and the devices shall be tested before service is reinstated to the water connection. The water operator shall inspect and approve all installations of the required backflow prevention devices. The cost of purchasing, installing, and maintaining a backflow prevention device shall be the responsibility and sole expense of the consumer. Households that have backflow devices will be responsible for the maintenance and repair of said devices and for the annual backflow testing as required by Nebraska HHS Title 179 NAC 22-004 item (6)(d). The water operator shall perform annual testing of all backflow devices and reduced pressure zone devices.

- If deemed necessary by the water operator, testing can be required on a time schedule other than annually. If deemed necessary by the water operator that maintenance or repairs are necessary, the owner shall be contacted and issued an order to make all necessary repairs or maintenance. The owner shall complete all maintenance or repairs within 30 days; if not, the owner shall be considered in violation of the backflow ordinance and will be subject to disconnection of the service as provided in Section 7-241 (Violations).

- No person shall install or maintain a water service connection containing cross-connections to a public water supply system or a consumer's potable water supply system unless such cross-connections are abated or controlled in accordance with this rule, and as required by the laws and regulations of the Dept. of Health.

- For the purpose of these regulations, whenever the water operator is to make any decision or interpretation or whenever reference is made to the fact that the water operator is to exercise judgment, such decision, interpretation or judgment shall be in accordance with the provisions of these backflow prevention regulations and any other application provisions of the city code and state and federal law.

(Neb. Rev. Stat. §17-537) (Am. by Ord. No. 1257, 11/20/14)

SECTION 7-231:  BACKFLOW PROTECTION; SURVEYS AND INVESTIGATIONS

- It shall be the responsibility of the water consumer to conduct or cause to be conducted periodic surveys of water use practices on his//her premises as necessary to determine whether there are actual or potential cross-connections in the consumer's water supply system. The water operator, as frequently as he determines necessary, shall have the authority to conduct or cause to be conducted periodic surveys and investigations of water use practices within a consumer’s premises to determine whether there are actual or potential cross-connections to the consumer's water supply system through which contaminants or pollutants could backflow into the public water supply system. The water operator may conduct these surveys to provide information in determining what level of protection will be necessary to protect the public health and safety.

- On request by the water operator, the consumer shall furnish information on water use practices within the consumer's premises. If the consumer refuses to submit the proper information or to cooperate in obtaining the proper information, the water operator shall treat the premises as if no appropriate cross-connection survey has been completed, and in such event the consumer shall be required to install an approved backflow prevention device as required by Section 7-232 below (Where Protection is Required).

- The water operator shall have the right to enter a premises served by the water system at all reasonable times for the purpose of making surveys and investigations of water use practices within the premises. In order to inspect any premises, the water operator shall give notice setting forth a proposed date and time to the consumer at least ten days in advance. If the consumer cannot make the premises available for inspection at the proposed date and time, the consumer shall contact the water operator and arrange for another reasonable date and time for the inspection.

- If the water operator and the consumer cannot agree on a date and time, the water operator shall treat the premises as if no appropriate cross-connection survey has been completed, and in such event the consumer shall be required to install an approved backflow prevention device as required by Section 7-234 (Devices).

- The City Council is hereby appointed as a hearing board to hear differences between the water operator and the consumer on matters concerning interpretation and execution of the provisions of this ordinance by the water operator. Any consumer aggrieved by being required to pay the expense of installing, furnishing, and or maintaining a backflow prevention device may, within 14 days of the act or event causing the grievance, request a hearing in writing to present those grievances, to the Hearing Board. The said Board shall schedule the matter for hearing within 30 days and provide written notice of the meeting by first class mail to the consumer. The notice shall be mailed to the consumer at least seven and not more than 21 days before the hearing. At the hearing the consumer shall first state the nature of the grievance and the water operator shall be entitled to respond thereto, whereupon the Hearing Board shall render its decision, which will be binding upon the consumer and the water operator.

(Neb. Rev. Stat. §17-537)

SECTION 7-232:  BACKFLOW PROTECTION; WHERE PROTECTION IS

REQUIRED

- An approved backflow prevention device shall be installed between the service connection and the point of potential backflow into a consumer's water supply system when in judgment of the water operator a health, plumbing, pollution or system hazard exits.

- An approved backflow prevention device shall be installed when the following conditions are found by the water operator to exist:

  - Premises on which any substance is handled in such a fashion as to create an actual or potential hazard to public water supply system. This shall include premises having sources or systems containing process fluids or waters originating from a public water supply system which are no longer under the sanitary control of the owner;

  - Premises having internal cross-connections that, in the judgment of the water operator, are not correctable, or there exist intricate plumbing arrangements which make it impracticable to determine whether or not a cross-connection exists;

  - Premises where, because of security requirements or other prohibitions or restrictions, it is impossible or impractical to make a complete cross-connection survey;

  - Premises having a repeated history of cross-connections being established or re-established;

  - Premises having more than one customer service connection which could constitute a potential cross-connection.

- An approved backflow prevention device shall be installed on each service line to a customer's water supply system serving the following types of facilities unless the water operator determines that no health, pollution, or system hazard to the public water supply system exists:

  - Hospitals, mortuaries, dental clinics, nursing and convalescent homes, medical buildings;

  - Testing laboratories, film laboratories, film development facilities;

  - Sewage treatment plants, sewage pumping stations, or storm water pumping stations;

  - Food or beverage processing plants;

  - Chemical plants;

  - Metal de-greasing, plating industries, machine tool plants, dye and metal processing or productions;

  - Chemical and petroleum processing or storage plants;

  - Car washes, automobile servicing facilities;

  - Lawn irrigation systems and swimming pools;

  - Laundries and dry cleaners;

  - Packing houses;

  - Power plants;

  - Premises having radioactive materials such as laboratories, industries, hospitals;

  - Rendering plants;

  - Premises having water re-circulation system as used for boilers and cooling systems;

  - Veterinary establishments, kennels, feed yards, stables, rodeo grounds, stockyards, pet grooming salons;

  - Beauty salons, barbershops, massage parlors, health clubs;

  - Fire suppression systems;

  - Multi-storied buildings greater than three stories in height;

  - Schools, universities, colleges;

  - Other commercial or industrial facilities which may constitute potential cross-connection.

(Neb. Rev. Stat. §17-537)

SECTION 7-233:  BACKFLOW PROTECTION; TYPE REQUIRED

- The type of protection required under Section 7-231 (Surveys and Investigations) above shall depend on the degree of hazard that exists as follows:

- An approved air gap separation or an approved reduced pressure principle backflow prevention device shall be installed where a public water supply system may be contaminated with any substance that could cause a system hazard or health hazard;

- An approved double check valve assembly shall be installed where a public water supply system may be contaminated with any substance that could cause a pollution hazard;

- An approved reduced pressure principle backflow prevention device shall be installed at the service connection where there exists a plumbing hazard;

- In the case of any premises where, because of security requirements or other prohibitions it is impossible or impractical to make a complete cross-connection survey of the consumers potable water system, a reduced pressure principle backflow prevention device shall be installed at the service connection.

- An approved antisiphon vacuum breaker may be used as a backflow prevention device where it is not subjected to back pressures. This device shall not be used for applications where water flow is expected to be continuous for 12 or more hours. The device shall be installed ahead of the potential source of contamination or the discharge side of the last control valve. It shall be placed at least 12 inches above the highest point reach by any water passing through the potential source of contamination. Typically this type of device is used for such equipment as lawn sprinklers, water-cooled compressors, or other water cooled equipment.

(Neb. Rev. Stat. §17-537)

SECTION 7-234:  BACKFLOW PROTECTION; DEVICES

- Any approved backflow prevention device required by Section 7-231 (Surveys and Investigations) shall be installed at the location and in a manner approved by the water operator. The consumer, at his/her sole expense, shall obtain and install said approved backflow prevention device(s) within 90 days of notice and as directed by the water operator.

- Existing backflow prevention devices approved by the water operator prior to the effective date of this rule and which are properly maintained shall, except for inspection, testing, and maintenance requirements, be excluded from the requirements of subsection (A), but only if the water operator determines that the devices will satisfactorily protect the public water supply system. One hundred percent closing shut-off ball valves for testing shall be provided on existing backflow prevention devices, if deemed necessary for proper testing by the water operator. If deemed necessary by the water operator that an existing backflow prevention device requires replacement, it shall be replaced with an approved backflow prevention device.

(Neb. Rev. Stat. §17-537)  (Ord. No. 931, 11/24/92)

SECTION 7-235:  BACKFLOW PROTECTION; BOOSTER PUMPS

No person shall install or maintain a water service connection to any premises where a booster pump has been installed on the service line to or within such premises, unless such booster pump is equipped with a low pressure cutoff designed to shut off the booster pump when the pressure in the service line on the suction side of the pump drops to 20 pounds per square inch gauge or less. It shall be the duty of the water customer to maintain the low pressure cut-off device in proper working order.

(Neb. Rev. Stat. §17-537)

SECTION 7-236:  BACKFLOW PROTECTION; HYDRANTS

- The installation of yard hydrants where water is available or accessible for drinking or culinary purposes and which have drip opening below ground surface, is prohibited unless such hydrants are equipped with an approved device to prevent entrance of ground water into chambers connected with the water supply.

- Yard hydrants or hose bibs which would be used by the consumer to provide water to mix pesticides, fertilizer, or other chemicals, for direct use or aerial application to surface areas shall be equipped with an anti-siphon vacuum breaker.

- All underground lawn and garden sprinkler systems shall be equipped with an approved backflow prevention device.

- No direct connection can be made to fire hydrants, except by the Fire Department or city employees in the performance of their job.

(Neb. Rev. Stat. §17-537)

SECTION 7-237:  BACKFLOW PROTECTION; FIRE SUPPRESSION SYSTEM

- All proposed installations of fire suppression systems shall be reviewed by the water operator to determine the appropriate type of backflow prevention device(s) required.

- All proposed fire suppression systems requiring an antifreeze solution shall use pharmaceutical-grade antifreeze. The consumer shall provide to the water operator a certification identifying the type of pharmaceutical-grade antifreeze which shall be used. A double check valve backflow prevention device shall be installed in an approved manner.

- A double check valve of an approved type shall be installed on all proposed fire suppression systems not utilizing antifreeze, but this may be done only when there are no other cross-connections.

- All existing fire suppression systems shall meet the requirements of subsections (B) and (C) above, whichever applies. An inspection by a certified fire suppression specialist shall be done to determine whether pharmaceutical grade antifreeze(s) have been utilized. This shall be done at the expense of the consumer. If it cannot be certified that only pharmaceutical-grade antifreezes have been used, then a reduced pressure principle backflow prevention device shall be installed as approved by the water operator. This also shall be done at the expense of the consumer.

- In the event cross-connections, such as those found in using auxiliary water supply systems or in providing other water additives such as foaming agents, are necessary for the proper operation of the fire suppression system, then a reduced pressure zone backflow prevention device shall be installed in an approved manner.

(Neb. Rev. Stat. §17-537)

SECTION 7-238:  BACKFLOW PROTECTION; APPROVAL STANDARDS

- Any backflow prevention device required herein shall be of a model and size approved by the water operator. "Approved backflow prevention device" shall mean a device that has been manufactured in full conformance with the standards established by the American Water Works Association (AWWA) entitled: AWWA C506-69 Standards for Reduced Pressure Principle and Double Check Valve Backflow Prevention Devices and by the American Society of Sanitary Engineers (ASSE) entitled:

- No. 1001 Pipe Applied Atmospheric Type Vacuum Breakers – ANSI Approved 1982 Revised, 1988

- No. 1011 Hose Connection Vacuum Breaker – ANSI Approved 1982

- No. 1012 Backflow Preventer/Intermediate Atmospheric Vent – 1978

- No. 1013 Reduced Pressure Principle Backflow Preventer – Revised 1988

- No. 1015 Double Check Backflow Prevention Assembly – Revised 1988

- No. 1019 Wall Hydrants, Freezeless, Automatic Draining, Anti-Backflow Types – ANSI Approved 1978

- No. 1020 Vacuum Breakers, Antisiphon, Pressure Type, Page 11, ANSI Approved 1982

- No. 1024 Dual Check Valve Type Backflow Preventers – ANSI Approved 1984, Revised 1988

- No. 1032 Dual Check Valve Type Backflow Preventer for Carbonated Beverage Dispensers – 1980

- No. 1035 Laboratory Faucet Vacuum Breakers – ANSI Approved 1984

- No. 1048 Double Check Detector Assembly Backflow Preventer – 1989

B. Said standards and specifications have been adopted by the water operator. Final approval shall be a Certificate of Approval issued by an approved testing laboratory, certifying full compliance with said standard and specifications.

C. The water operator shall keep a current list of all certified suppliers and their appropriate list of makes and models of backflow prevention devices which the water operator has deemed approved.

D. The water operator may require a trainer of approved type and size to be installed in conjunction with required backflow prevention devices. The installation of strainers shall preclude the fouling of backflow device(s) due to foreseen and unforeseen circumstances occurring to the water supply system such as water main repairs, water main breaks, fires, periodic cleaning and flushing of mains. These occurrences may cause debris such as scale deposits and sand to flush through the mains, causing fouling of backflow devices.

(Neb. Rev. Stat. §17-537)

SECTION 7-239:  BACKFLOW PROTECTION; LIABILITY CLAIMS

The water operator shall be relieved from personal liability. The City shall hold harmless the water operator when acting in good faith and without malice, from all personal liability for any damage that may occur to any person or property as a result of any act required or authorized by this title, or by reason of any act or omission of the water operator in the discharge of his/her duties hereunder. Any suit brought carrying out the provisions of the title shall be defended by the City, or the City's insurance carrier, if any, through final determination of such proceeding. (Neb. Rev. Stat. §17-537)

SECTION 7-240:  BACKFLOW PROTECTION; STATE REGULATIONS ADOPTED

BY REFERENCE

State regulations can be found in the Nebraska Department of Health Title 179 –Regulations Governing Public Water Supply Systems Pertaining to Cross-Connection Control and Backflow Prevention, hereby incorporated into this ordinance by reference.

SECTION 7-241:  BACKFLOW PROTECTION; VIOLATIONS

- The water operator, after notice to the consumer thereof, shall deny or discontinue the water service to any premises wherein:

- Any backflow prevention device required by these regulations is not installed or maintained in a manner acceptable to the water operator;

- It is found that the backflow prevention device has been removed or by passed;

- An unprotected cross-connection exists on the premises;

- A low pressure cut-off as required herein is not installed and maintained in working order;

- The water operator is denied entry to determine compliance with these regulations.

- The water operator, without notice to the consumer thereof, shall immediately deny or discontinue the water service to any premises wherein a severe cross-connection exists constituting an immediate threat to the safety of the public water system. The water operator shall notify the consumer within 24 hours and said denial or discontinuance of service.

- Water service to such premises shall not be restored until the consumer has corrected or eliminated such conditions or defects in conformance with these regulations, and to the satisfaction of the water operator.

(Neb. Rev. Stat. §17-537)

Article 3  Sewer Department

SECTION 7-301:  OPERATION AND FUNDING

- The City owns and operates the sewer system through the Public Works Department. For the purpose of defraying the cost of the maintenance and repairing of any sewer or water utilities in the City, the City Council may each year levy a tax not exceeding the maximum limit prescribed by state law on the taxable value of all the taxable property in the City. The revenue from the tax shall be known as the Water and Sewer Maintenance Fund and shall be used exclusively for the purpose of maintenance and repairs of the water and sewer system. The utility superintendent shall have the direct management and control of the Sewer Department, shall faithfully carry out the duties of the office, and shall have the authority to adopt rules and regulations for the sanitary and efficient management of the Department, subject to the supervision and review of the City Council.  (Neb. Rev. Stat. §17-149, 17-925.01)  (Ord. No. 1091, 8/11/98)

SECTION 7-302:  DEFINITIONS

Unless the context specifically indicates otherwise, the meaning of terms used in this article shall be as follows:

"Biochemical Oxygen Demand" (BOD) shall mean and include the quantity of oxygen utilized in the biochemical oxidation of organic matter under standard laboratory procedure in five days at 20 C., expressed in parts per million by weight.

"Building drain" and "house drain" shall mean and include that part of the lowest horizontal piping of a drainage system which receives the discharge from soil, waste, or other drainage pipes inside the walls of the building and conveys it to the building sewer, beginning five feet outside the inner face of the building wall.

"Building sewer" and "house sewer" shall mean and include that part of a house or building drainage system extending from the house or building drain to its connection with the main sewer.

"Chlorine requirement" shall mean the amount of chlorine, in parts per million by weight, which must be added to sewage to produce a specified residual chlorine content, or to meet the requirements of some other objective, in accordance with procedures set forth in Standard Methods for the Examination of Water, Sewage, and Industrial Waste, published jointly by the American Public Health Association, the American Water Works Association and the Water Pollution Control Federation.

"City" shall mean the City of Tekamah.

"Combined sewer" shall mean a sewer receiving both surface runoff and sewage.

"Floatable oil" shall mean oil, fat, or grease in a physical state such that it will separate by gravity from wastewater by treatment in an approved pretreatment facility. Wastewater shall be considered free of floatable fat if it is properly pretreated and the wastewater does not interfere with the collection system.

"Garbage" shall mean solid wastes from the domestic and commercial preparation, cooking and dispensing of food, and from the handling, storage and sale of produce.

"Industrial wastes" shall mean the liquid wastes from industrial manufacturing processes, trade, or business as distinct from sanitary sewage.

"Local ventilating pipe" shall mean and include any pipe through which foul air is removed from a room or fixture.

"May" is permissive; "shall" is mandatory.

"Natural outlet" shall mean any outlet into a watercourse, pond, ditch, lake, or other body of surface or groundwater.

“Normal sewage" shall mean sewage not exceeding maximum tolerance of contamination of 300 milligrams per liter BOD or 350 milligrams per liter of suspended solids.

"Parts per million" shall mean a weight-to-weight ratio; the parts-per million value multiplied by the factor 8.345 shall be equivalent to pounds per million gallons of water.

"Person" shall mean any individual, firm, company, association, society, corporation, or group.

"pH" shall mean and include the logarithm of the reciprocal of the weight of hydrogen ions in grams per liter of solution.

"Properly shredded" shall mean and include shredding to such a degree that all particles will be carried freely under the flow conditions normally prevailing in public sewers with no particle larger than one-half inch in diameter.

"Properly shredded garbage" shall mean the wastes from the preparation, cooking, and dispensing of food that have been shredded to such a degree that all particles will be carried freely under the flow conditions normally prevailing in public sewers, with no particle greater than one-half  inch in any dimension.

"Public sewer" shall mean a sewer in which all owners of abutting properties have equal rights, and is controlled by public authority.

"Sanitary sewer" shall mean and include a sewer which carries sewage and to which storm,	surface, and	ground waters are not intentionally admitted.

"Sewage" shall mean and include a combination of the water-carried wastes from residences, business buildings, institutions, and industrial establishments together with such ground, surface, and storm waters as may be present.

"Sewage treatment plant" shall mean any arrangement of devices and structures used for treating sewage.

"Sewer" shall mean a pipe or conduit for carrying sewage.

"Sewer system" shall mean and include all facilities for collecting, pumping, treating, and disposing of sewage.

"Sewerage" shall mean the system of sewers and appurtenances for the collection, transportation and pumping of sewage and industrial 	wastes.

"Shall" is mandatory; "may" is permissive.

"Slug" shall mean any discharge of water, sewage, or industrial waste which in concentration of any given constituent or in quantity of flow exceeds for any period of duration longer than 15 minutes more than five times the average 27-hour concentration or flows during normal operation.

“Soil pipe" shall mean and include any pipe which conveys the discharge of water closets with or without the discharge from other fixtures to the house or building drain.

"Standard Methods" shall mean the examination and analytical procedures set forth in the most recent editions of Standard Methods for the Examination of Water, Sewage, and Industrial Waste, published jointly by the American Public Health Association, the American Water Works Association and the Water Pollution Control Federation.

"Storm sewer" shall mean a sewer which carries storm and surface waters and drainage, but excludes sewage and industrial wastes, other than unpolluted cooling water.

"Suspended solids" shall mean and include solids that either float on the surface of, or are in suspension in water, sewage, or other liquids, and are removable by filtering.

"Trap" shall mean and include a fitting or device so constructed as to prevent the passage of air or gas through a pipe without materially affecting the flow of sewage or waste through it.

"Trap seal" shall mean and include the vertical distance between the crown weir and the dip of the trap.

"Vent pipe" shall mean and include any pipe provided to ventilate a house or building drainage system and to prevent trap siphonage and back pressure.

"Waste pipe" shall mean and include any pipe which receives the discharge of any fixture, except water closets, and conveys the same to the house drain, soil pipe, or waste stack.

"Wastewater" shall mean the spent water of a community. From the standpoint of source, it may be a combination of the liquid and water-carried wastes from residences, commercial buildings, industrial plants, and institutions, together with any groundwater, surface water, and storm water that may be present.

"Wastewater facilities" shall mean the structures, equipment, and processes required to collect, carry away, and treat domestic and industrial wastes and dispose of the effluent.

"Wastewater treatment works" shall mean an arrangement of devices and structure for treating wastewater, industrial wastes, and sludge, sometimes used synonymously with "waste treatment plant" or "water pollution control plant."

"Watercourse" shall mean a natural or artificial channel for the passage of water either continuously or intermittently.

SECTION 7-303:  CITY POWERS

The City has the legal authority to enforce its system of user charges, industrial cost recovery charge, and sewer use regulations on all existing or future users of the system, whether located inside or outside the city limits.  (Neb. Rev. Stat. §17-149)

SECTION 7-304:  APPLICATION; DEPOSIT

Any person wishing to connect with the sewer system shall make an application therefor to the utilities superintendent. The superintendent may require any applicant to make a service deposit in such amount as has been set by the City Council and placed on file at the office of the city clerk. Sewer service may not be supplied to any house or building except upon the order of the superintendent. The Department shall not supply sewer service to any person outside the corporate limits without special permission from the City Council; provided, the entire cost of pipe and other installation charges shall be paid by such consumers. Nothing herein shall be construed to obligate the City to provide sewer service to nonresidents.  (Neb. Rev. Stat. §17-149, 19-2701)

SECTION 7-305:  SEWER CONTRACT; NOT TRANSFERABLE

A. The City through the Sewer Department shall furnish sewer services to persons within its corporate limits whose premises abut a street or alley in which a commercial main is now or may hereafter be laid. The City may also furnish sewer service to persons whose premises are situated outside the corporate limits of the City, as and when, according to law, the City Council may see fit to do so. The rules, regulations, and sewer rental rates hereinafter named in this article shall be considered a part of every application hereafter made for sewer service and shall be considered a part of the contract between every customer now or hereafter served. Without further formality, the making of the application on the part of any applicant for the use of sewer service by present customers thereof shall constitute a contract between the customer and the City to which said contract both parties are bound. If the customer shall violate any of the provisions of said contract or any reasonable rules and regulations that the City Council may hereafter adopt, the utilities superintendent or his agent may cut off or disconnect the sewer service from the building or premises of such violation. No further connection for sewer service to said building or premises shall again be made save or except by order of the superintendent or his agent.  (Neb. Rev. Stat. §17-901, 17-902)

B. Contracts for sewer service are not transferable. Any person wishing to change from one location to another shall make a new application and sign a new contract. If any customer shall move from the premises where service is furnished, or if the said premises are destroyed by fire or other casualty, he/she shall at once inform the sewer commissioner, who shall cause the sewer service to be shut off from the said premises. If the customer should fail to give notice, he/she shall be charged for that period of time until the official in charge of sewers is otherwise advised of such circumstances.  (Neb. Rev. Stat. §17-901, 17-902, 18-503)

SECTION 7-306:  RATE SETTING

Customers of the Sewer Department shall be charged a rate based on water usage for the use of sewer service. Rates shall be set by the City Council and shall be on file at the office of the city clerk, available for public inspection during office hours.  (Neb. Rev. Stat. §18-509)

SECTION 7-307:  USER CHARGE REVIEW

The City shall review, at least annually, the user charge system and revise the charges, if necessary, to accomplish the following.

1. Maintain the proportional distribution of operational cost among all users and user classes.

2. Generate adequate revenue to pay the cost of debt service on improvements that have already been made to the system to comply with safe drinking water and sewer discharge regulations.

3. Generate adequate revenues to pay the cost of operation, maintenance, and replacement cost, mandatory implementation of safe drinking water regulations and monitoring and conforming to sewer discharge regulations.

4. Apply excess revenues collected from users to a designated fund for the cost of future operation, maintenance, replacements, mandatory implementation of safe drinking water regulations and monitoring and conforming to sewer discharge regulations.

(Am. by Ord. No. 1257, 11/20/14)

SECTION 7-308:  USER NOTIFICATION

Each user will be notified, at least annually, with a regular bill, of the rate and that portion of the user charges ad valorem taxes which are attributable to wastewater treatment.

(Continued)

(This page intentionally left blank)

(This space intentionally left blank)

SECTION 7-309:  SEWER MAINTENANCE FUND

The operation, maintenance and replacement (OM&R) portion of the total sewer user charges shall be deposited in a non-lapsing Sewer Maintenance Fund, or set of funds, and the revenues so deposited will be used only for the purposes of defraying the OM&R costs of the treatment works. Funds transferred from other revenue sources to meet temporary shortages in the OM&R accounts shall be refunded following an appropriate adjustment in the user charges for OM&R. The Sewer Maintenance Fund will have a minimum of two primary accounts:

- An O&M account with provision for carryover of the fiscal year end balance to meet the overall O&M costs in the subsequent fiscal year;

- A non-lapsing sinking fund for replacement costs which accrues funds through deposits made at least annually from OM&R use charge revenues. The deposits shall provide adequate revenues to meet the "replacement" needs of the treatment works over its service life and shall be used for no other purpose. For purposes of maintaining said fund on a perpetual basis, the City shall budget a sum of money not less than 20% of its annual projected operation and maintenance budget for the sewer treatment works. Fiscal year-end balances in the non-lapsing sinking fund will be carried over to the same fund in the subsequent year.

(Neb. Rev. Stat. Sec. 17-924.02)

SECTION 7-310:  CLASSIFICATION OF CONSUMERS

The City Council may classify the customers of the Sewer Department for the purpose of rental fees; provided, such classifications are reasonable and do not discriminate unlawfully against any consumer or group of consumers. The classification must be approved by the Environmental Protection Agency, relative to the user charge grant condition.  (Neb. Rev. Stat. §17-925.02)

SECTION 7-311:  COLLECTION OF SEWER USE FEES

Sewer rental bills shall be due and payable pursuant to Article 1 of this chapter (Utilities Generally).

SECTION 7-312:   PUBLIC SEWERS REQUIRED; UNLAWFUL DEPOSIT OF WASTES

It shall be unlawful for any person to place, deposit, or permit to be deposited in any unsanitary manner on public or private property within the City or within one mile of the corporate limits thereof, or in any area under the jurisdiction of said City, any human or animal excrement, garbage, or other objectionable waste.

(Neb. Rev. Stat. §17-149)

SECTION 7-313:  PUBLIC SEWERS REQUIRED; UNLAWFUL DISCHARGE OF

UNTREATED SEWAGE

It shall be unlawful to discharge to any natural outlet within the City, or within one mile of the corporate limits thereof, or in any area under the jurisdiction of said City, any sewage or other polluted waters, except where suitable treatment has been provided in accordance with subsequent provisions of this article. (Neb. Rev. Stat. §17-149)

SECTION 7-314:  PUBLIC SEWERS REQUIRED; CESSPOOLS, PRIVIES AND

SEPTIC TANKS PROHIBITED

Except as hereinafter provided, it shall be unlawful to construct or maintain any privy, privy vault, septic tank, cesspool, or other facility intended or used for the disposal of sewage. (Neb. Rev. Stat. §17-149)

SECTION 7-315:  PUBLIC SEWERS REQUIRED; MANDATORY HOOKUP

The owner of any house, building, or property used for human employment, recreation, or other purposes, situated within the City and abutting on any street, alley, or right-of-way in which there is now located or may in the future be located a public sanitary or combined sewer of the City, is hereby required at his/her expense to install suitable toilet facilities therein and to connect such facilities directly with the proper public sewer in accordance with the provisions of this article within 90 days after date of official notice to do so; provided, said public sewer is within 100 feet of the property line. (Neb. Rev. Stat. §17-149)

SECTION 7-316:  SEWER INSTALLATION; PERMIT REQUIRED

No unauthorized person shall uncover, make any connections with or opening into, use, alter, or disturb any public sewer or appurtenance thereof without first obtaining a written permit from the superintendent.  (Neb. Rev. Stat. §17-149)

SECTION 7-317:  BUILDING SEWER INSTALLATION; PERMIT; CLASSES;

APPLICATION

There shall be two classes of building sewer permits: (A) for residential and commercial service, and (B) for service to establishments producing industrial wastes. In either case, the owner or his agent shall make application on a special form furnished by the City. The permit application shall be supplemented by any plans, specifications, or other information considered pertinent in the judgment of the superintendent.

(Neb. Rev. Stat. §17-149)

SECTION 7-318:  OWNER’S EXPENSE

All costs and expenses incidental to the installation and connection of the building sewer shall be borne by the owner. The owner shall indemnify the City from any loss or damage that may directly or indirectly be occasioned by the installation of the building sewer.  (Neb. Rev. Stat. §17-149)

SECTION 7-319:  TAP FEE; PLUMBER MAY BE REQUIRED

The customer, upon approval of his/her application for sewer service, shall pay to the utilities superintendent a tap fee which shall compensate the City for the expense of processing the application and tapping the sewer main. The utilities superintendent, in his discretion, may direct the customer to hire a licensed plumber to tap the main. The customer shall then be required to pay the expense of procuring the materials required as well as the services of a licensed plumber and shall pay all other costs of installation.  (Neb. Rev. Stat. §17-149)

SECTION 7-320:  INSTALLATION PROCEDURE

A. In making excavations in streets, alleys, or sidewalks for the purpose of installing pipe, or making repairs, the paving, stones, and earth must be removed and deposited in a manner that will occasion the least inconvenience to the public and provide for adequate drainage. No person shall leave an excavation made in the street, alley, or sidewalk open at any time without a barricade, and during the night, warning lights. After the house sewer is laid, the public ways and property shall be restored to good condition. If the excavation in the public ways and property is left open or unfinished for a period of 24 hours or more, the utilities superintendent shall have the duty to finish or correct the work, and all expenses so incurred shall be charged to the owner, occupant, or lessee of the property.

B. All installations or repairs of pipes require two inspections by the utilities superintendent. The first inspection shall be made when connections or repairs are complete and before the pipe is covered. The second inspection shall be made after the dirt work is completed and the service restored. It is the customer's responsibility to notify the utilities superintendent at the time the work is ready for each inspection. All installation shall be done under the supervision and strictly in accordance with the rules, regulations, and specifications for such installation prescribed by the utilities superintendent; provided, the said rules, regulations, and specifications have been reviewed and approved by the City Council.

SECTION 7-321:  INSTALLATION EXPENSE; FEES

- When improvements are made to the water supply system or the wastewater system within the City, such cost associated with the improvement will generally be assessed to those properties gaining benefit from such improvement. When a new or existing water or sewer customer wishes to receive a new connection, the City will pay the cost of tapping the main, installing the meter and providing the fixtures and labor from the main up to the stop box at the lot line of the customer. All cost associated with the new service line will be included in the installation charge. The installation charge will include the cost of the all materials needed for the connection, including the stop box, and the labor. The City shall bill the installation charges along with tap fees set herein.

- The base tap fees are hereby set in the following amounts:

- The minimum residential water line shall be a one-inch pipe with a minimum tap fee of $175.00.

- The minimum residential sewer line shall be a six-inch pipe with a flat fee of $50.00.

- Tap fees for commercial lines shall be set on a case by case basis. The utility superintendent shall require in each case the plumbing plans for the new commercial site and the determination of the size of line required will be based on the site plans and proposed use. The fee will be set in accordance with size and cost.

- Regardless of the type of service, the customer shall at his own expense bring water service from the stop box or sewer service from the closet main and upon his own premises. The customer shall hire a plumber to make the connection to the point of city service and the point of dispersement. All water service will be metered. The City owns, pays for, and maintains one meter for each customer within city limits. Additional meters can be purchased from the City at its cost.

- Any existing property owner within the City's service area that is currently connected to a city service line and any future property owner wishing to connect to a city service shall be subject to the installation and connection fees. The connection fee shall only include the right to connect to the line. The property owner has the option of paying the connection fee up front or as a reoccurring charge on his/her monthly utility statement for up to 60 months interest-free. No property shall have the right to be connected to city service without prior city approval.

(Neb. Rev. Stat. §17-149)  (Ord. No. 1074, 8/25/98)

SECTION 7-322:  REPAIRS AND REPLACEMENT

- The Sewer Department may require the owner of any property which is within the City and connected to the public sewers or drains to repair or replace any connection line which serves the owner's property and is broken, clogged or otherwise in need of repair or replacement. The property owner's duty to repair or replace such a connection line shall include those portions upon the owner's property and those portions upon public property or easements up to and including the point of junction with the public main.

- The city clerk shall give the property owner notice by registered letter or certified mail, sent to the last-known address of such owner or the agent of such owner, directing the repair or replacement of such connection line. If within 30 days of mailing such notice the property owner fails or neglects to cause such repairs or replacements to be made, the utilities superintendent may cause such work to be done and assess the cost upon the property served by such connection.

(Neb. Rev. Stat. §18-1748)

SECTION 7-323:  SINGLE PREMISES

A separate and independent building sewer shall be provided for every building; except where one building stands at the rear of another on an interior lot and no private sewer is available or can be constructed to the rear building through an adjoining alley, court, yard, or driveway, the building sewer from the front building may be extended to the rear building and the whole considered as one building sewer, but the City does not and will not assume any obligation or responsibility for damage caused by or resulting from any such single connection aforementioned.  (Neb. Rev. Stat. §17-149)

SECTION 7-324:  USE OF EXISTING SEWERS

Old building sewers may be used in connection with new buildings only when they are found, on examination and test by the superintendent, to meet all requirements of this article.  (Neb. Rev. Stat. §17-149)

SECTION 7-325:  CONSTRUCTION CODES

- The size, slope, alignment, materials of construction of a building sewer, and the methods to be used in excavating, placing of the pipe, jointing, testing and backfilling the trench, shall all conform to the requirements of the building and plumbing code or other applicable rules and regulations of the City. In the absence of code provisions or in amplification thereof, the materials and procedures set forth in appropriate specifications of the A.S.T.M. and W.P.C.F. Manual of Practice No. 9 shall apply.

- Whenever possible, the building sewer shall be brought to the building at an elevation below the basement floor. In all buildings in which any building drain is too low to permit gravity flow to the public sewer, sanitary sewage carried by such building drain shall be lifted by an approved means and discharged to the building sewer.

- The connection of the building sewer into the public sewer shall conform to the requirements of the building and plumbing code or other applicable rules and regulations of the City, or the procedures set forth in appropriate specifications of the A.S.T.M. and the W P.C.F. Manual of Practice No. 9. All such connections shall be made gastight and watertight, and verified by proper testing. Any deviation from the prescribed procedures and materials must be approved by the superintendent before installation.

(Neb. Rev. Stat. §17-149)

# SECTION 7-326:  PLUMBING REGULATIONS

It shall be unlawful for any person, firm or corporation to engage in or conduct the business of sewer connection and house drainage, excavate any trenches for sewer pipe, open, uncover or in any manner make connection with or lay any sewer drain, or attach to, modify or repair any appurtenances without complying with the rules and regulations of the utilities superintendent, provided that nothing herein shall be construed to apply to persons, firms or corporations under special contract with the City for the construction, extension or repair of the city sewer system.  (Neb. Rev. Stat. §17-149)

## SECTION 7-327:  PLUMBER'S LIABILITY

The licensed plumber or drainlayer who connects with the public sewer shall be held responsible for any damage he/she may cause to the sewers or the public ways and property. He/she shall restore all streets that he/she has excavated to the complete satisfaction of the utilities superintendent and make good any settlement of the ground or pavement caused by such excavation.  (Neb. Rev. Stat. §17-149)

SECTION 7-328:  UNLAWFUL CONNECTION

No person shall make connection of roof downspouts, interior and exterior foundation drains, areaway drains, or other sources of surface runoff or groundwater to a building sewer or building drain which in turn is connected directly or indirectly to a public sanitary sewer unless such connection is approved by the superintendent for purposes of disposal of polluted surface drainage; provided, if responsibility can be determined, the party responsible for disposal of polluted surface drainage into the public sanitary sewer shall pay a user charge equivalent to the cost of treating the polluted drainage.  (Neb. Rev. Stat. §17-149)

SECTION 7-329:  INSPECTIONS

The applicant for the building sewer permit shall notify the superintendent when the building sewer is ready for inspection and connection to the public sewer. The connection and testing shall be made under the supervision of the superintendent or his representative.  (Neb. Rev. Stat. §17-149)

SECTION 7-330:  EXCAVATIONS

All excavations for building sewer installation shall be adequately guarded with barricades and lights so as to protect the public from hazard. Streets, sidewalks, parkways, and other public property disturbed in the course of the work shall be restored in a manner satisfactory to the City.

SECTION 7-331:  INDUSTRIAL USERS; SEWER SERVICE CHARGE

- Industrial users of the wastewater treatment plant shall be defined as any person or entity discharging an industrial waste to the treatment plant. All present and future industrial users of the wastewater treatment plant shall be assessed a sewer service charge directly related to their proportionate share of waste loadings discharged by the industry as compared to the total waste loading discharged by the entire city.

- The loadings for which sewer service charges are to be assessed shall be based on, but not necessarily limited to, organic, solids, and hydraulic loadings. The loadings from each industrial user shall be determined by the City or its authorized representative. Loadings shall be determined by the use of a sampling program, which shall be conducted on the waste discharge of the industrial user for a minimum duration of three days, not necessarily consecutive.

- When the average loadings of the particular industrial user have been determined from the sampling program, the average loading in mg/I will be compared to the corresponding total average loadings received at the city waste treatment plant. The average strength of the industrial waste (mg/l) shall be less than the average waste strength from the City (mg/I). The total average loadings received at the waste treatment plant shall be those determined from the year prior to which the sampling program is performed at the industry.

- At least once each year or more frequently as determined by the City, the industrial user shall be resampled to determine possible new average loadings reflecting modification in production or processing. These new loadings shall then be compared to the total average loadings received at the city treatment plant the prior year to determine the need for the change in the industrial user sewer service charge.

(Neb. Rev. Stat. §17-149)

SECTION 7-332:  INDUSTRIAL USERS; SEWER CHARGES; DETERMINATION

Industrial user sewer service charges shall be set by resolution of the City Council and determined as follows:

- Establish industrial users’ average loadings as described above.

- Establish the total average loadings received at the waste treatment plant as described above.

- Develop ratios comparing the industrial users’ average loadings to the corresponding total average loadings received at the waste treatment plant.

- Annual total costs of the treatment plant shall be included in the sewer service charge determination as described below:

- Annual capital cost debt retirement for the waste treatment plant.

- Annual operation and maintenance cost for the waste treatment plant.

- During the sampling of the industrial user, production figures or quantities of raw product used shall be recorded for sewer service charge development.

F. Correlating the loading ratios and the corresponding raw products or production figures with the annual total costs of the waste treatment plant, a uniform sewer service charge will be developed on the basis of production or raw material used.

(Neb. Rev. Stat. §17-149)

SECTION 7-333:  MANHOLES

Entrance into a manhole or street opening for any purpose except by authorized persons is hereby prohibited. It shall be unlawful to deposit or cause to be deposited in any manhole or outlet connected with the sewer system any substance which is not the usual and natural waste carried by the sewer system.  (Neb. Rev. Stat. §17-149)

SECTION 7-334:  PRIVATE SEWAGE DISPOSAL; WHEN APPLICABLE

- Where a public sanitary or combined sewer is not available under the provisions herein, the building sewer shall be connected to a private sewage disposal system complying with the provisions of this article.

- At such time as a public sewer becomes available to a property served by a private wastewater disposal system, a direct connection shall be made to the public sewer within 60 days in compliance with this article, and any septic tanks, cesspools, and similar private wastewater disposal facilities shall be cleaned of sludge and filled with suitable material.

(Neb. Rev. Stat. §17-149)

SECTION 7-335:  PRIVATE SEWAGE DISPOSAL SYSTEM; PERMIT REQUIRED;

FEE

Before commencement of construction of a private sewage disposal system, the owner shall first obtain a written permit signed by the superintendent. The application for such permit shall be made on a form furnished by the City, which the applicant shall supplement by any plans, specifications, and other information as are deemed necessary by the superintendent. A permit and inspection fee of $5.00 shall be paid to the City at the time the application is filed.  (Neb. Rev. Stat. §17-149)

SECTION 7-336:  PRIVATE SEWAGE DISPOSAL SYSTEM; PERMIT; WHEN

EFFECTIVE; INSPECTIONS

A permit for a private sewage disposal system shall not become effective until the installation is completed to the satisfaction of the superintendent. He shall be allowed to inspect the work at any stage of construction and, in any event, the applicant for the permit shall notify the superintendent when the work is ready for final inspection, and before any underground portions are covered. The inspection shall be made within 24 hours of the receipt of notice by the superintendent.  (Neb. Rev. Stat. §17-149)

SECTION 7-337:  PRIVATE SEWAGE DISPOSAL SYSTEM; SPECIFICATIONS

The type, capacities, location, and layout of a private sewage disposal system shall comply with all recommendations of the Nebraska Department of Health. No permit shall be issued for any private sewage disposal system employing subsurface soil absorption facilities when the area of the lot is less than 10,000 square feet. No septic tank or cesspool shall be permitted to discharge to any natural outlet.  (Neb. Rev. Stat. §17-149)

SECTION 7-338:  PRIVATE SEWAGE DISPOSAL SYSTEM; MAINTENANCE

The owner shall operate and maintain the private sewage disposal facilities in a sanitary manner at all times, at no expense to the City.  (Neb. Rev. Stat. §17-149)

SECTION 7-339:   PROHIBITED DISCHARGES; STORMWATER, SURFACE

WATER, GROUNDWATER, COOLING WATER AND

PROCESS WATER

- No person shall discharge or cause to be discharged any storm water, surface water, groundwater, roof runoff, subsurface drainage, including interior and exterior foundation drains, uncontaminated cooling water, or unpolluted industrial waters to any sanitary sewer.

- Storm water and all other unpolluted drainage shall be discharged to such sewers as are specifically designated as combined sewers or storm sewers, or to a natural outlet approved by the superintendent. Industrial cooling water or unpolluted process water may be discharged, on approval of the superintendent, to a storm sewer, combined sewer, or natural outlet. The contributor of any identifiable discharge of polluted water to the sanitary sewer system shall be held responsible for reimbursing the City for such costs. The costs shall be determined by the superintendent with the approval of the City Council.

(Neb. Rev. Stat. §17-149)

SECTION 7-340:  HAZARDOUS AND PROHIBITED DISCHARGES; FLAMMABLE,

TOXIC, CORROSIVE AND OBSTRUCTIVE SUBSTANCES

- No person shall discharge or cause to be discharged any of the following-described waters or wastes to any public sewers:

  - Any gasoline, benzene, naphtha, fuel oil, or other flammable or explosive liquid, solid, or gas.

  - Any waters or wastes containing toxic or poisonous solids, liquids, or gases in sufficient quantity, either singly or by interaction with other wastes, to injure or interfere with any waste treatment process, constitute a hazard to humans or animals, create a public nuisance, or create any hazard in the receiving waters of the wastewater treatment plant.

  - Any waters or wastes having a pH lower than 5.5, or having any other corrosive property capable of causing damage or hazard to structures, equipment, and personnel of the sewage works.

  - Solid or viscous substances in quantities or of such size capable of causing obstruction to the flow in sewers, or other interference with the proper operation of the sewage facilities such as, but not limited to, ashes, cinders, sand, mud, straw, shavings, metal, glass, rags, feathers, tar, plastics, wood, unground garbage, whole blood, paunch manure, hair and fleshings, entrails and paper dishes, cups, milk containers, etc., either whole or ground by garbage grinders.

  - Any waters or wastes:

    - Having five-day BOD greater than 300 parts per million by weight; or

    - Containing more than 350 parts per million by weight of suspended solids; or

    - Having an average daily flow greater than 2% of the average sewage flow of the City; or

    - Having a chlorine requirement greater than demanded by normal sewage as evaluated by the City's consulting engineer shall be subject to the review of the superintendent.

- Where necessary in the opinion of the superintendent, the owner shall provide, at his expense, such preliminary treatment as may be necessary to:

1.  Reduce the biochemical oxygen demand to 300 parts per million by weight, or

2.   Reduce the suspended solids to 350 parts per million by weight, or

3.  Control the quantities and rates of discharge of such waters or wastes, or

4.  Reduce the chlorine requirement to conform to normal sewage.

- Plans, specifications, and other pertinent information relating to proposed preliminary treatment facilities shall be submitted for the approval of the superintendent and no construction of such facilities shall be commenced until said approvals are obtained in writing.

(Neb. Rev. Stat. §17-149)

SECTION 7-341:  HAZARDOUS AND PROHIBITED DISCHARGES; SPECIFIC

PROHIBITIONS AS DETERMINED BY SUPERINTENDENT

- No person shall discharge or cause to be discharged the following described substances, materials, waters, or wastes if it appears likely in the opinion of the superintendent that such wastes can harm either the sewers, sewage treatment process, or equipment, have an adverse effect on the receiving stream, or can otherwise endanger life, limb, public property, or constitute a nuisance. In forming his opinion as to the acceptability of these wastes, the superintendent will give consideration to such factors as the quantities of subject wastes in relation to flows and velocities in the sewers, materials of construction of the sewers, nature of the sewage treatment process, capacity of the sewage treatment plant, and other pertinent factors. The substances prohibited are:

  - Any liquid or vapor having a temperature higher than 150. Any water or waste containing fats, wax, grease, or oils, whether emulsified or not, in excess of 100 mg/I or containing substances which may solidify or become viscous at temperatures between 32 and 150 F.

  - Any garbage that has not been properly shredded. The installation and operation of any garbage grinder equipped with a motor three-fourths horsepower or greater shall be subject to the review and approval of the superintendent.

  - Any waters or wastes containing strong acid iron pickling wastes, or concentrated plating solutions whether neutralized or not.

  - Any waters or wastes containing iron, chromium, copper, zinc, and similar objectionable or toxic substances; or wastes exerting an excessive chlorine requirement to such degree that any such material received in the composite sewage at the sewage treatment works exceeds the limits established by the superintendent for such materials.

  - Any waters or wastes containing phenols or other taste- or odor-producing substances, in such concentrations exceeding limits which may be established by the superintendent as necessary, after treatment of the composite sewage, to meet the requirements of state, federal, or other public agencies of jurisdiction for such discharge to the receiving waters.

  - Any radioactive wastes or isotopes of such half-life or concentration as may exceed limits established by the superintendent in compliance with applicable state or federal regulations.

  - Any waters of wastes having a pH in excess of [9.5].

  - Materials which exert or cause:

    - Unusual concentrations of inert suspended solids (such as, but not limited to, Fuller's earth, lime slurries, and lime residues) or of dissolved solids, (such as but not limited to, sodium chloride or sodium sulfate).

    - Excessive discoloration (such as, but not limited to, dye wastes and vegetable tanning solutions).

    - Unusual BOD, chemical oxygen demand, or chlorine requirements in such quantities as to constitute a significant load on the sewage treatment works.

    - Unusual volume of flow or concentration of wastes constituting "slugs" as defined here in.

- Waters or wastes containing substances which are not amenable to treatment or reduction by the sewage treatment processes employed, or are amenable to treatment only to such degree that the sewage treatment plant effluent cannot meet the requirements of other agencies having jurisdiction over discharge to the receiving waters.

(Neb. Rev. Stat. §17-149)

SECTION 7-342:   DISCHARGE OF HAZARDOUS AND PROHIBITED

SUBSTANCES; REJECTION, PRETREATMENT; CONTROL

OF DISCHARGE RATE OR USE FEE SURCHARGE

- If any waters or wastes are discharged, or are proposed to be discharged to the public sewers, which waters contain the substances or possess the characteristics enumerated in Section 7-341, and which in the judgment of the superintendent may have a deleterious effect upon the sewage works, processes, equipment, or receiving waters, or which otherwise create a hazard to life to constitute a public nuisance, the superintendent may:

- Reject the wastes,

- Require pretreatment to an acceptable condition for discharge to the public sewers,

- Require control over the quantities and rates of discharge, and/or

- Require payment to cover the added cost of handling and treating the wastes not covered by existing taxes or sewer charges under the provisions of Section 7-348 (Special Exceptions; Use Fee Surcharge).

- If the superintendent permits the pretreatment or equalization of waste flows, the design and installation of the plants and equipment shall be subject to the review and approval of the superintendent and subject to the requirements of all applicable codes, ordinances and laws.

(Neb. Rev. Stat. §17-149)

SECTION 7-343:  GREASE, OIL AND SAND INTERCEPTORS; WHEN REQUIRED

Grease, oil, and sand interceptors shall be provided when, in the opinion of the superintendent, they are necessary for the proper handling of liquid wastes containing grease in excessive amounts, or any flammable wastes, sand, or other harmful ingredients; except that such interceptors shall not be required for private living quarters or dwelling units. All interceptors shall be of a type and capacity approved by the superintendent and shall be located as to be readily and easily accessible for cleaning and inspection. In the maintaining of these interceptors, the owner(s) shall be responsible for the proper removal and disposal by appropriate means of the captured material and shall maintain records of the dates, and means of disposal which are subject to review by the superintendent. Any removal and hauling of the collected materials not performed by personnel of the owner(s) must be performed by currently licensed waste disposal firms.  (Neb. Rev. Stat. §17-149)

SECTION 7-344:  PRELIMINARY TREATMENT OR FLOW-EQUALIZING

FACILITIES; MAINTENANCE BY OWNER

Where preliminary treatment or flow-equalizing facilities are provided for any waters or wastes, they shall be maintained continuously in satisfactory and effective operation by the owner at his expense.

SECTION 7-345:  CONTROL MANHOLES/SAMPLING STATIONS; WHEN

REQUIRED; INSTALLATION AND MAINTENANCE

When required by the superintendent, the owner of any property serviced by a building sewer carrying industrial wastes shall install a suitable control manhole, together with such necessary meters and other appurtenances in the building sewer to facilitate observation, sampling, and measurement of the wastes. Such manhole, when required, shall be accessibly and safely located and shall be constructed in accordance with plans approved by the superintendent. The manhole shall be installed by the owner at his/her expense, and shall be maintained by the owner so as to be safe and accessible at all times.  (Neb. Rev. Stat. §17-149)

SECTION 7-346:  CONTROL MANHOLES/SAMPLING STATIONS; METHOD

All measurements, tests, and analyses of the characteristics of waters and wastes to which reference is made in this article shall be determined in accordance with the latest edition of Standard Methods for the Examination of Water and Wastewater, published by the American Public Health Association, and shall be determined at the control manhole provided, or upon suitable samples taken at said control manhole. In

the event no special manhole has been required, the control manhole shall be considered to be the nearest downstream manhole in the public sewer to the point at which the building sewer is connected. Sampling shall be carried out by customarily accepted methods to reflect the effect of constituents upon the sewage works and to determine the existence of hazards to life, limb, and property. (The particular analyses involved will determine whether a 27-hour composite of all outfalls of a premises is appropriate or whether a grab sample or samples should be taken. Normally, but not always, BOD and suspended solids analyses are obtained from 27-hour composites of all outfalls whereas pH's are determined from periodic grab samples.)  (Neb. Rev. Stat. §17-149)

SECTION 7-347:  SANITARY SUPPLY SYSTEM; DESTRUCTION OF PROPERTY

No person or persons shall maliciously, willfully, or negligently break, damage, destroy, uncover, deface, or tamper with any structure, appurtenance, or equipment which is part of the wastewater facilities. Any person or persons violating this provision shall be subject to immediate arrest under charge of disorderly conduct.  (Neb. Rev. Stat. §17-149)

SECTION 7-348:  HAZARDOUS AND PROHIBITED SUBSTANCES; SPECIAL

EXCEPTIONS PERMITTED; USE FEE SURCHARGE

No statement contained in this article shall be construed as preventing any special agreement or arrangement between the City and any industrial concern whereby an industrial waste of unusual strength or character may be accepted by the City for treatment, subject to payment therefor by the industrial concern.  (Neb. Rev. Stat. §17-149)

SECTION 7-349:  COMPLIANCE WITH ARTICLE; INSPECTIONS GENERALLY

The superintendent and other duly authorized employees of the City bearing proper credentials and identification shall be permitted to enter all properties for the purposes of inspection, observation, measurement, sampling, and testing system in accordance with the provisions of this article. The superintendent or his representative shall have no authority to inquire into any processes including metallurgical, chemical, oil, refining, ceramic, paper, or other industries beyond that point having a direct bearing on the kind and source of discharge to the sewers or waterways or facilities for waste treatment.  (Neb. Rev. Stat. §17-149)

SECTION 7-350:  COMPLIANCE WITH ARTICLE; INSPECTIONS; INJURY

LIABILITY

While performing the necessary work on private properties referred to in Section 7-349 above, the superintendent or duly authorized employees of the City shall observe all safety rules applicable to the premises established by the company. The company shall be held harmless for injury or death to the city employees and the City shall indemnify the company against loss or damage to its property by city employees and against liability claims and demands for personal injury or property damage asserted against the company and growing out of the gauging and sampling operation, except as such may be caused by negligence or failure of the company to maintain safe conditions as required in Section 7-345 (Control Manholes/Sampling Stations; When Required; Installation And Maintenance).

SECTION 7-351:  COMPLIANCE WITH ARTICLE; INSPECTIONS; EASEMENTS

The superintendent and other duly authorized employees of the City bearing proper credentials and identification shall be permitted to enter all private properties through which the City holds a duly negotiated easement for the purposes of, but not limited to, inspection, observation, measurement, sampling, repair, and maintenance of any portion of the sewage works lying within said easement. All entry and subsequent work, if any, on said easement, shall be done in full accordance with the terms of the duly negotiated easement pertaining to the private property involved.

SECTION 7-352:  VIOLATION; NOTICE AND LIABILITY

Any person found to be violating any provision of this article except Section 7-349 (Compliance with Article; Inspections Generally) shall be served by the City with written notice stating the nature of the violation and providing a reasonable time limit for the satisfactory correction thereof. The offender shall, within the period of time stated in such notice, permanently cease all violations. Any person violating any of the provisions of this article shall become liable to the City for any expense, loss, or damage occasioned the City by reason of such violation.  (Neb. Rev. Stat. §17-149)

SECTION 7-353:  SEVERABILITY CLAUSE

The invalidity of any section, clause, sentence, or provision of this article shall not affect the validity of any other part of this article which can be given effect without such invalid part or parts.

SECTION 7-354:  PENAL PROVISION; VIOLATION

Any person who shall continue any violation beyond the time limit provided in Section 7-352 shall be guilty of a misdemeanor, and on conviction thereof shall be fined in the amount not exceeding $500.00 for each violation. Each 24-hour period in which any such violation shall continue shall be deemed a separate offense.

Article 4  Solid Waste

SECTION 7-401:  DEFINITIONS

“C/D waste” (construction/demolition waste) shall mean waste from construction, remodeling and repair operations on houses, commercial buildings and other structures, including but not limited to excavated earth, stones, brick, plastic, lumber, concrete and waste parts occasioned by installations, repair and demolition.

“Garbage” shall mean the organic waste and residue of animal, fruit or vegetable matter arising from or attending the household preparation of meats, fish, fowl, fruits and vegetables and shall include the organic waste of animal, fruit or vegetable matter attending the preparation of food from any home, hotel, hospital, church, restaurant or commercial establishment or which may become offensive or injurious to the public health.

“Trash” shall mean all nonputrescible wastes such as paper, plastic, tin cans, crockery, bottles and glass containers, rags, ashes, waste from minor household repairs, papers, boxes, packing materials from dwellings and all business, commercial and industrial establishments except sewage, manure and dirt.

“Yard waste” shall mean lawn trimmings, leaves, tree trimmings and fallen branches, trees, bushes and shrubs.

(Ord. Nos. 967, 3/28/95; 1241, 8/22/12)

Section 7-402:  Residential CUSTOMERS

It shall be unlawful for any person to keep in, on or about any dwelling, building, premises or any other place in the City garbage, decayed vegetable or animal substances of any kind that may be injurious to the public health or offensive to residents of the City unless the same is kept in receptacles and as nearly airtight as practical. Any person having garbage or any kind of waste subject to fermentation shall be required to place the same into a garbage can with a tight lid, plastic container with a tight lid or a tied plastic bag. No person may permit garbage or trash to collect and all persons shall remove the same from their property within 24 hours after being notified to do so by the police chief, who shall represent the Board of Health. All persons shall have the contents of their garbage containers removed at least once a week. (Neb. Rev. Stat. §17-563) (Ord. Nos. 967, 3/28/95; 1241, 8/22/12)

Section 7-403:  BUSINESSES, CHURCHES AND COMMERCIAL CUSTOMERS

All businesses, churches and commercial enterprises are subject to Section 7-402. (Ord. No. 1241, 8/22/12)

Section 7-404:  Commercial Haulers/Collectors

A. All commercial haulers and collectors hauling and/or collecting C/D waste, garbage and or trash within the City shall keep all vehicles and containers used for such maintained in a well-repaired and sanitary condition. Any noxious odor from vehicles or containers must be taken care of immediately and will be the responsibility of the owner to do so.

B. No alleys may be used for the regular collection of garbage or trash. No vehicle or container used for hauling of or collection of C/D waste, garbage, trash, or yard waste shall be so overloaded that waste spills therefrom. Any waste that is spilled during this process shall be immediately cleaned up. Containers and vehicles which contain C/D waste, garbage, trash and/or yard waste may not be kept on the hauler’s or collector’s property for longer than a 48-hour period. If there are extenuating circumstances that require a longer period of time to remove the vehicle or container, it must be approved by the city office before the 48-hour period expires.

C. Haulers and collectors will provide the City a summary on an annual basis of the volume of all waste collected, disposed of or recycled from within the city limits. The summary must be provided to the city clerk by January 1 of each calendar year and shall include the type and weight of the waste collected for the calendar year.

(Neb. Rev. Stat. §17-563) (Ord. No. 1241, 8/22/12)

Section 7-405:  COMPACTOR; litter prevention

Any and all loads transported to the city compactor shall be contained in a covered container or tied bag or shall be covered with a tarp to prevent littering. The compactor attendant shall inspect all loads to ensure waste or recycling materials are contained. Said attendant’s determination shall be the final ruling on whether a violation of this ordinance has occurred. Any violator shall be assessed a fee of $5.00, which will be added to the final total of waste charges for said patron and shall be due immediately. (Ord. No. 1244, 1/17/13)

Article 5  City Compactor/Dumping Grounds

SECTION 7-501:  OPERATION AND FUNDING

The City owns and operates the city compactor/dumping grounds through the utilities superintendent. The City Council, for the purpose of defraying the cost of the care, management, and maintenance of the compactor/dumping grounds may each year levy a tax not to exceed the maximum limit prescribed by state law on the actual valuation of all real estate and personal property within the corporate limits that is subject to taxation. The revenue from the said tax shall be known as the Dump Fund and shall remain in the custody of the city treasurer. The utilities superintendent shall have the direct management and control of the compactor/dumping grounds and shall faithfully carry out the duties of his position. The utilities superintendent shall have the authority to adopt rules and regulations for the sanitary and efficient management of the compactor/dumping grounds subject to the supervision and review of the City Council. The Council shall provide by ordinance for the management and operation of the compactor/dumping grounds and shall set the rates to be charged for services rendered by ordinance and file the same in the office of the city clerk for public inspection during office hours.  (Neb. Rev. Stat. §19-2101 thru 19-2106)

SECTION 7-502:  STATE REGULATIONS

The City shall apply for a license to operate the compactor/dumping grounds. Application shall be made to the Department of Environmental Quality on forms provided by the Department. No fee shall be charged for such licensing. Each license so issued shall expire five years following the date of issuance, but may be renewed if the City has complied with the provisions of Neb. Rev. Stat. §81-1501 to 81-1533 and the rules and regulations adopted thereunder. It shall be the duty of the utilities superintendent to comply with the rules and regulations prescribed by the DEQ for the use and operation of the compactor/dumping grounds.  (Neb. Rev. Stat. §81-1517, 81-1519)

Article 6  Penal Provision

SECTION 7-601:  VIOLATION; PENALTY

Any person who shall violate or refuse to comply with the enforcement of any of the provisions of this chapter, set forth at full length herein or incorporated by reference, shall be deemed guilty of a misdemeanor and upon conviction thereof shall be fined not more than $500.00 for each offense. A new violation shall be deemed to have been committed every 24 hours of such failure to comply.